## Slide 1: pyote
Python occultation timing extractor
Written by bob Anderson, lake Oswego, Oregon
Presented by tony george at the 2017 iota conference, carson city, nevada

## Slide 2: introduction
PYOTE is a stand-alone program for the analysis of occultation timing light curves.
PYOTE is written in PYTHON code, allowing a simplified GUI, and simplified installation and update.
PYOTE is designed with the same mathematical algorithms used in R-OTE
Compared to R-OTE, PYOTE is greatly simplified for ease of use
PYOTE can be installed in any operating system that supports PYTHON code.
PYOTE has been tested to run in both the MAC and WINDOWS operating systems.

## Slide 3: Introduction (continued)
Maximum Likelihood Estimation is used throughout to determine 'best fit' of model light curves to the actual data.
Physically realistic square-wave models are fit to the light curves. Sub-frame timing is included in the calculation of D and R times. An Akaike Information Criterion (AIC)calculation is used to justify or reject sub-frame timing.
PYOTE utilizes statistically rigorous error bar calculations to properly characterize the increased uncertainty in D/R time estimates due to ‘correlated noise’ caused by atmospheric scintillation .

## Slide 4: Introduction (continued)
Occultation error bars are non-parametric – they do not fit any known statistical distribution. Normal statistical relationships like 1-sigma, 2-sigma, etc., cannot be used for occultation error bars.
As a result, error bars must be created through Monte Carlo simulations, with error bar values calculated at the desired ‘confidence levels’.
PYOTE produces timing error bars, statistically correct for ‘correlated noise’ at three confidence levels:
  0.6827
  0.9500
  0.9973

## Slide 5: installation
PYOTE requires the installation of Anaconda3 and PYTHON
PYOTE is self installing off the PyPI (the python package repository)
A PDF file has been produced to guide users through installation in both MAC and WINDOWS operating systems
The MAC PDF file can be found here: http://www.asteroidoccultation.com/observations/NA/pyote-mac-revised-installation.pdf
The WINDOWS PDF file can be found here: http://www.asteroidoccultation.com/observations/NA/pyote-windows-revised-installation.pdf
Once installed, alerts are provided to future updates, which can be automatically installed from the PyPI (the python package repository)

## Slide 6: Special features
‘TIPS’ and ‘INSTRUCTIONS’ are provided for all menu items using pop-up text boxes when the cursor is hovered over the menu item
Light curve .csv files are tested for time stamp continuity. D and R times are only produced when time stamp continuity is valid
Tangra and Limovie files are supported
Light curves can be ‘normalized’ to a secondary star light curve
‘Start Over’ button allows a quick restart when errors are made
A ‘LOG’ is created storing a record of all analysis steps and results, including ‘Start Over’ events. The LOG allows reviewers to see what the analyst did, step by step, and can help to identify steps that resulted in erroneous results.

## Slide 7: Camera delay corrections
PYOTE was written to be as simple as possible and simple to maintain and update
Camera delay corrections were not incorporated
When PYOTE disappearance and reappearance times are calculated, the results must be corrected for camera delay
A new Excel form AstReport has been created that will automatically correct the uncorrected results from both PYOTE and Occular. This form will be incorporated into OccultWatcher. It is also available here: http://www.asteroidoccultation.com/observations/Forms/AsteroidReportForms.html

## Slide 8: Demonstration
I will now give a short presentation of how PYOTE can be used to quickly analyze a light curve

## Slide 9: Future development
PYOTE is a work in progress. Future updates will be automatically provided as development continues
One anticipated future improvement is the automatic submission of processed light curves to the IOTA/Vizier database
Suggestions for changes or improvements can be submitted to Bob Anderson at the email address included in the ‘Info’ PDF file provided with the program

## Slide 10: Acknowledgments
Program written by Bob Anderson
Beta testing provided by IOTA R-OTE Volunteer Group, with special credit to Ted Blank and Greg Lyzenga for their contributions
Support provided by Brad Timerson, IOTA North American Coordinator